## Sample Prep Guidelines
Please complete the Table in the Sample Information tab and upload to your Assisted Acquisition Request
SAMPLES MUST BE FILTERED IMMEDIATELY PRIOR TO RUNNING (70um pore size filter)
Please bring samples to be acquired in 5mL Falcon round-bottom polystyrene tubes (Corning Inc, cat # 352052)
See Sample Prep Guidelines below for controls to include in your experimental design.
Sample Prep Guidelines
REQUIRED Instrument Setup Controls:
1) An UNSTAINED control for each cell type is required for ALL experiments
2) Compensation controls: Single stain controls for each fluorochrome (AND Viability Dye) are required (cells and/or beads).
RECOMMENDED Gating Controls:
Fluorescent Minus One (FMO) controls: contains all fluorochromes in the panel except for the one that is being measured.
RECOMMENDED Experimental Controls:
Dependent on experimental conditions. For example:
1) Untreated vs Treated cells (stained and unstained for each)
2) Positive/Negative staining controls for each marker
3) Staining specificity controls: secondary only, knock-out, siRNA.

## Sample Information
PLEASE COMPLETE THE TABLE AND UPLOAD TO YOUR ASSISTED ACQUISITION REQUEST (SEE EXAMPLE BELOW)
CONTROLS & EXPERIMENTAL SAMPLES (add more columns and rows as needed)
| Tube Content | Tube Type | Tube Name | VIABILITY DYE | MARKER 1-FLOUROCHROME | MARKER 2-FLOUROCHROME | MARKER 3-FLOUROCHROME | MARKER 4-FLOUROCHROME | MARKER 5-FLOUROCHROME | MARKER X-FLUOROCHROME
Control Tube 1
Control Tube 2
Control Tube 3
Control Tube 4
Control Tube 5
Control Tube X
Sample Tube 1
Sample Tube 2
Sample Tube 3
Sample Tube X
EXAMPLE for 4-Color Experiment
| Tube Content | Tube Type | Tube Name | PI (propidium iodide) | pSTAT5-PE | pLCK-Alexa Fluor 647 | CD4-FITC
Control Tube 1 | Live + Killed Spleen Cells | Compensation Control | SINGLE STAIN PI | ✓
Control Tube 2 | Neg + Pos Comp beads | Compensation Control | SINGLE STAIN PE |  | ✓
Control Tube 3 | Neg + Pos cells | Compensation Control | SINGLE STAIN Alexa 647 |  |  | ✓
Control Tube 4 | Neg + Pos Comp beads | Compensation Control | SINGLE STAIN FITC |  |  |  | ✓
Control Tube 5 | Spleen Cells | Staining Control | PE FMO | ✓ |  | ✓ | ✓
Control Tube 6 | Spleen Cells | Staining Control | Alexa 647 FMO | ✓ | ✓ |  | ✓
Control Tube 7 | Spleen Cells | Staining Control | FITC FMO | ✓ | ✓ | ✓
Sample Tube 1 | Spleen Cells | Experimental Sample | WT Spleen #1 | ✓ | ✓ | ✓ | ✓
Sample Tube 2 | Spleen Cells | Experimental Sample | WT Spleen #2 | ✓ | ✓ | ✓ | ✓
Sample Tube 3 | Spleen Cells | Experimental Sample | KO Spleen #1 | ✓ | ✓ | ✓ | ✓
Sample Tube 4 | Spleen Cells | Experimental Sample | KO Spleen #2 | ✓ | ✓ | ✓ | ✓